## Fire Extingisher
S .NO | F E No | Location | Available FE | Capacity | Qty | Mfg Year | QR Code
do not delete this cell
1 | 234 | Fire Pump Room | ABC Type | 6kg | 1 | 2021
2 | 231 | Fire Pump Room | ABC Type | 10kg | 1 | 2090
3 | 232 | Fire Pump Room | Co2 Type | 4.5kg | 1 | 2021
4 | 233 | Fire Pump Room | Co2 Type | 4.5kg | 1 | 2021
5 | 228 | Scrap Yard | Foam Type | 45 ltr | 1 | 2021
6 | 229 | Scrap Yard | Foam Type | 45 ltr | 1 | 2021
7 | 230 | Scrap Yard | Foam Type | 45 ltr | 1 | 2021
8 | 236 | Touch Up Booth | ABC Type | 9kg | 1 | 2021
9 | 235 | Touch Up Booth | Co2 Type | 4.5kg | 1 | 2021
10 | 239 | Propane Tank | Foam Type | 45 ltr | 1 | 2021
11 | 242 | Propane Tank | Foam Type | 45 ltr | 1 | 2021
12 | 243 | Propane Tank | DCP Type | 50 KG | 1 | 2016
13 | 245 | Propane Tank | DCP Type | 50 KG | 1 | 2016
14 | 240 | Propane Tank | DCP Type | 9kg | 1 | 2016
15 | 241 | Propane Tank | DCP Type | 9kg | 1 | 2016
16 | 244 | Propane Tank | DCP Type | 9kg | 1 | 2016
17 | 246 | Propane Tank | DCP Type | 9kg | 1 | 2016
18 | 237 | Tank Control Room | Co2 Type | 6.5kg | 1 | 2021
19 | 238 | Tank Control Room | Co2 Type | 6.5kg | 1 | 2021
20 | 256 | Disel Storage Tard | Foam Type | 50 ltr | 1 | 2021
21 | 257 | Disel Storage Tard | Co2 Type | 6.5kg | 1 | 2017
22 | 259 | Disel Storage Tard | Co2 Type | 6.5kg | 1 | 2017
23 | 258 | Disel Storage Tard | ABC Type | 25kg | 1 | 2015
24 | 247 | Oil Yard | Foam Type | 45 ltr | 1 | 2021
25 | 252 | Oil Yard | Foam Type | 45 ltr | 1 | 2015
26 | 251 | Oil Yard | ABC Type | 25kg | 1 | 2015
27 | 250 | Oil Yard | ABC Type | 25kg | 1 | 2015
28 | 248 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
29 | 249 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
30 | 253 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
31 | 254 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
32 | 255 | Oil Yard | Co2 Type | 4.5kg | 1 | 2021
33 |  | Oil Yard | Foam Type | 50 ltr | 1 | 2021
34 |  | Oil Yard | Foam Type | 50 ltr | 1 | 2021
35 | 260 | Gate No-01 | ABC Type | 4kg | 1 | 2016
36 | 261 | Gate No-01 | ABC Type | 5kg | 1 | 2017
37 | 264 | Gate No-01 | ABC Type | 4kg | 1 | 2017
38 |  | H T Yard | Co2 Type | 4.5kg | 1 | 2021
39 |  | H T Yard | ABC Type | 6kg | 1 | 2021
40 | 262 | Gate No-2 | ABC Type | 4kg | 1 | 2017
41 | 263 | Gate No-2 | Water Co2 Type | 9ltr | 1 | 2016
42 | 182 | Medical Room | ABC Type | 2kg | 1 | 2021
43 | 183 | Canteen | ABC Type | 2kg | 1 | 2021
44 | 185 | Gate No-03 | ABC Type | 4kg | 1 | 2017
45 | 186 | Gate No-03 | Water Co2 Type | 9ltr | 1 | 2017
46 | 184 | Canteen ( Kitchen) | Co2 Type | 2 kg | 1 | 2021
47 | 187 | Meter Area | Co2 Type | 4.5kg | 1 | 2017
48 | 188 | Meter Area | ABC Type | 5kg | 1
49 |  | H T Room | Co2 Type | 6.5kg | 1 | 2021
50 |  | H T Room | Co2 Type | 6.5kg | 1 | 2021
51 |  | Meter Room | Co2 Type | 4.5kg | 1 | 2021
52 | 189 | Transformer -01 | Co2 Type | 4.5kg | 1 | 2021
53 | 2017 | Transformer -02 | Co2 Type | 4.5kg | 1 | 2021
54 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
55 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
56 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
57 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
58 | 1 | Pilar No- B-3 | Water Co2 Type | 9ltr | 1 | 2012
59 |  | Pilar No- B-5 | Foam - Type | 9ltr | 1 | 2021
60 | 3 | Pilar No- A-5 | Co2 Type | 4.5kg | 1 | 2021
61 | 4 | Pilar No- B-7 | Foam - Type | 9ltr | 1 | 2021
62 | 2 | Pilar No- B-3-Back Side | Foam - Type | 9ltr | 1 | 2021
63 | 5 | Pilar No- A-7 | ABC Type | 6kg | 1 | 2017
64 |  | Pilar No- C-1
65 | 12 | Pilar No- C-2 | Co2 Type | 4.5kg | 1 | 2021
66 | 11 | Pilar No- C-3 | ABC Type | 9kg | 1 | 2021
67 | 10 | Pilar No- C-4 | ABC Type | 6kg | 1 | 2021
68 | 9 | Pilar No- C-5 | Co2 Type | 4.5kg | 1 | 2021
69 | 8 | Pilar No- C-6 | Co2 Type | 4.5kg | 1 | 2021
70 | 7 | Pilar No- C-7 | ABC Type | 4kg | 1 | 2017
71 | 6 | Pilar No- C-7B | ABC Type | 6kg | 1 | 2021
72 |  | Pilar No- D-2 | Co2 Type | 4.5kg | 1 | 2017
73 | 14 | Pilar No- D-3 | ABC Type | 6kg | 1 | 2021
74 | 15 | Pilar No- D-4 | ABC Type | 6kg | 1 | 2021
75 | 16 | Pilar No- D-5 | ABC Type | 6kg | 1 | 2021
76 | 17 | Pilar No- D-6 | ABC Type | 6kg | 1 | 2021
77 |  | Pilar No- D-7
78 |  | Pilar No- D-8
79 | 23 | Pilar No- E-1 | ABC Type | 6kg | 1 | 2021
80 | 22 | Pilar No- E-2 | ABC Type | 6 kg | 1 | 2021
81 | 21 | Pilar No- E-3 | Co2 Type | 4.5kg | 1 | 2021
82 |  | Pilar No- E-4
83 | 20 | Pilar No- E-5 | Co2 Type | 4.5kg | 1 | 2021
84 | 19 | Pilar No- E-6 | ABC Type | 6kg | 1 | 2021
85 | 18 | Pilar No- E-7 | ABC Type | 6kg | 1 | 2021
86 |  | Pilar No- E-8 | Co2 Type | 4.5kg | 1 | 2021
87 | 24 | Pilar No- F-1 | ABC Type | 6kg | 1 | 2021
88 |  | Pilar No- F-2
89 | 25 | Pilar No- F-3 | ABC Type | 6kg | 1 | 2021
90 | 26 | Pilar No- F-4 | ABC Type | 6kg | 1 | 2021
91 | 27 | Pilar No- F-5 | ABC Type | 6kg | 1 | 2021
92 |  | Pilar No- F-6 | ABC Type | 6kg | 1 | 2021
93 | 28 | Pilar No- F-7 | ABC Type | 6kg | 1 | 2021
94 |  | Pilar No- F-8 | ABC Type | 6kg | 1 | 2021
95 | 36 | Pilar No- G-1 | Co2 Type | 4.5kg | 1 | 2021
96 | 35 | Pilar No- G-2 | Co2 Type | 4.5kg | 1 | 2021
97 | 34 | Pilar No- G-3 | ABC Type | 6kg | 1 | 2021
98 | 33 | Pilar No- G-4 | ABC Type | 6kg | 1 | 2021
99 | 32 | Pilar No- G-5 | Co2 Type | 4.5kg | 1 | 2021
100 | 31 | Pilar No- G-6 | Co2 Type | 4.5kg | 1 | 2021
101 | 30 | Pilar No- G-7 | ABC Type | 6kg | 1 | 2021
102 | 29 | Pilar No- G-7B | CO2 WATER | 9 LTR | 1 | 2017
103 |  | Pilar No- H-1
104 |  | Pilar No- H-2 | ABC Type | 6 Kg | 1 | 2021
105 | 37 | Pilar No- H-3 | ABC Type | 6kg | 1 | 2021
106 | 38 | Pilar No- H-4
107 |  | Pilar No- H-5
108 |  | Pilar No- H-6
109 | 39 | Pilar No- H-7 | ABC Type | 6kg | 1 | 2021
110 | 40 | Pilar No- H-7B | Co2 Type | 4.5kg | 1 | 2021
111 |  | Pilar No- J-1 | ABC Type | 6kg | 1 | 2021
112 |  | Pilar No- J-2
113 | 45 | Pilar No- J-3 | ABC Type | 6kg | 1 | 2021
114 | 44 | Pilar No- J-4 | Co2 Type | 4.5kg | 1 | 2021
115 | 43 | Pilar No- J-5 | ABC Type | 6kg | 1 | 2021
116 |  | Pilar No- J-6
117 | 42 | Pilar No- J-7 | Water Co2 | 9ltr | 1 | 2016
118 | 41 | Pilar No- J-7-B | Co2 Type | 4.5kg | 1 | 2017
119 |  | UPS ROOM | Co2 Type | 4.5kg | 1 | 2021
120 |  | Pilar No- K-2
121 | 47 | Pilar No- K-3 | ABC Type | 6kg | 1 | 2017
122 | 46 | Pilar No- K-4 | ABC Type | 6 Kg |  | 2021
123 | 48 | Pilar No- K-5 | ABC Type | 6kg | 1 | 2021
124 | 49 | Pilar No- K-6 | Co2 Type | 4.5kg | 1 | 2021
125 | 50 | Pilar No- K-7 | Co2 Type | 4.5kg | 1 | 2017
126 | 52 | Ground Floor Meeting | ABC Type | 4kg | 1 | 2021
127 |  | Workstation | ABC Type | 6kg | 1 | 2021
128 | 51 | Staandrd M Lab | ABC Type | 4kg | 1 | 2021
129 | 54 | Electrical Panel Room | Co2 Type | 4.5kg | 1 | 2021
130 | 58 | First floor | ABC Type | 4kg | 1 | 2021
131 | 60 | First floor | ABC Type | 4kg | 1 | 2021
132 | 59 | First floor | ABC Type | 5kg | 1 | 2016
133 | 53 | Ground Floor Offices | ABC Type | 4kg | 1 | 2016
134 | 55 | Ground Floor Offices | Co2 Type | 4.5kg | 1 | 2021
135 |  | Ground Floor Offices | Co2 Type | 4.5kg | 1 | 2021
136 | 56 | Ground Floor Offices | DCP Type | 5kg | 1 | 2016
137 | 57 | Ground Floor Offices | DCP Type | 5kg | 1 | 2016
138 | 61 | ICT Room | Co2 Type | 4.5kg | 1 | 2021
139 | 119 | Pilar No- K-15 | Co2 Type | 4.5kg | 1 | 2021
140 | 124 | Pilar No- K-16 | Co2 Type | 4.5 kg | 1 | 2021
141 |  | Pilar No- K-17
142 |  | Pilar No- K-18
143 |  | Pilar No- K-19
144 | 163 | Pilar No- K--20 | Water Co2 | 9Ltr | 1 | 2017
145 | 164 | Fabrication Uitility | Co2 Type | 4.5kg | 1 | 2021
146 |  | Pilar No- J-14 | Co2 Type | 4.5kg
147 | 120 | Pilar No- J-15 | ABC Type | 6kg | 1 | 2021
148 | 143 | Pilar No- J-16 | ABC Type | 5kg | 1 | 2017
149 |  | Pilar No- J-17 | ABC Type | 6kg | 1 | 2021
150 | 144 | Pilar No- J-18 | ABC Type | 6kg | 1 | 2014
151 | 162 | Pilar No- J-19 | ABC TYYE | 6 KG | 1 | 2021
152 |  | Pilar No- J--20 | ABC Type | 6kg | 1 | 2021
153 |  | Pilar No- J--21
154 |  | Pilar No- H--14 | Co2 Type | 4.5kg | 1 | 2021
155 | 121 | Pilar No- H--15 | Co2 Type | 4.5kg | 1 | 2021
156 | 141 | Pilar No- H--16 | ABC Type | 6kg | 1 | 2017
157 | 142 | Pilar No- H--17 | ABC Type | 6kg | 1 | 2021
158 | 145 | Pilar No- H--18 | ABC Type | 6kg | 1 | 2021
159 | 123 | Pilar No- G--14 | Water Co2 | 9Ltr | 1 | 2017
160 | 122 | Pilar No- G--15 | Co2 Type | 4.5kg | 1 | 2021
161 | 140 | Pilar No- G--16 | ABC Type | 6kg | 1 | 2021
162 |  | Pilar No- G--17 | Water Co2 | 9Ltr | 1 | 2017
163 | 146 | Pilar No- G--18 | ABC Type | 6kg | 1 | 2014
164 | 147 | Pilar No- G--19 | ABC Type | 6kg | 1 | 2021
165 | 124 | Pilar No- F--14 | Co2 Type | 4.5kg | 1 | 2021
166 | 125 | Pilar No- F--15 | Water Co2 | 9Ltr | 1 | 2017
167 |  | Pilar No- F--16 | Water Co2 | 9Ltr | 1 | 2017
168 | 139 | Pilar No- F--17 | ABC Type | 6kg | 1 | 2021
169 |  | Pilar No- F--18
170 | 148 | Pilar No- F--19 | ABC Type | 6kg | 1 | 2021
171 |  | Pilar No- F--20
172 | 126 | Pilar No- E--14 | ABC Type | 6kg | 1 | 2021
173 |  | Pilar No- E--15
174 | 136 | Pilar No- E--16 | ABC Type | 6kg | 1 | 2017
175 | 138 | Pilar No- E--17 | ABC Type | 6kg | 1 | 2017
176 | 150 | Pilar No- E--18 | ABC Type | 9kg | 1 | 2017
177 | 149 | Pilar No- E--19 | ABC Type | 6kg | 1 | 2021
178 | 161 | Pilar No- E--20 | ABC Type | 4kg | 1 | 2021
179 | 1278 | Pilar No- D--14 | ABC Type | 6kg | 1 | 2021
180 | 128 | Pilar No- D--15 | Co2 Type | 4.5kg | 1 | 2021
181 |  | Pilar No- D--16
182 | 137 | Pilar No- D--17 | Water Co2 | 9Ltr | 1 | 2017
183 |  | Pilar No- D--18 | ABC Type | 4kg | 1 | 2017
184 | 151 | Pilar No- D--19 | ABC Type | 6kg | 1 | 2021
185 | 160 | Pilar No- D--20 | ABC Type | 6kg | 1 | 2017
186 |  | Pilar No- D--21 | ABC Type | 6kg | 1 | 2017
187 | 130 | Pilar No- C--14 | Co2 Type | 4.5kg | 1 | 2021
188 | 129 | Pilar No- C--15 | ABC Type | 6kg | 1 | 2021
189 | 136 | Pilar No- C--16 | ABC Type | 6kg | 1 | 2017
190 |  | Pilar No- C--17 | ABC Type | 6kg | 1 | 2021
191 | 152 | Pilar No- C--18 | ABC Type | 6kg | 1 | 2017
192 |  | Pilar No- C--19
193 | 158 | Pilar No- C--20 | ABC Type | 4kg | 1 | 2017
194 | 159 | Pilar No- C--21 | ABC Type | 6kg | 1 | 2021
195 |  | Pilar No- B--14
196 | 131 | Pilar No- B--15 | ABC Type | 4kg | 1 | 2017
197 |  | Pilar No- B--16 | ABC Type | 4kg | 1
198 | 135 | Pilar No- B--17 | ABC Type | 6kg | 1 | 2021
199 | 153 | Pilar No- B-18 | DCP Type | 4kg | 1 | 2012
200 |  | Pilar No- B--19
201 | 156 | Pilar No- B--20 | ABC Type | 6kg | 1 | 2017
202 | 155 | Pilar No- B--21 | ABC Type | 6kg | 1 | 2021
203 | 132 | Pilar No- A--14 | ABC Type | 6kg | 1 | 2017
204 | 157 | Pilar No- B--21 | M Foam | 9ltr | 1 | 2021
205 |  | Pilar No- C--21 | ABC Type | 6kg | 1 | 2021
206 | 133 | Pilar No- A--15 | ABC Type | 6kg | 1 | 2021
207 | 134 | Pilar No- A--16 | ABC Type | 6kg | 1 | 2012
208 |  | Pilar No- A--17 | Co2 Type | 4.5kg | 1 | 2021
209 |  | Pilar No- A-18
210 | 154 | Pilar No- A--19 | M Foam TYPE | 9 LTR | 1 | 2017
211 |  | Pilar No- A-20 | ABC Type | 6kg | 1 | 2021
212 | 176 | Marketing Office | Co2 Type | 2kg | 1 | 2021
213 | 173 | Design Office | Co2 Type | 2kg | 1 | 2021
214 | 178 | P P Confrances Room -1 | Co2 Type | 2kg | 1 | 2021
215 | 180 | P P Confrances Room -2 | Co2 Type | 2kg | 1 | 2021
216 | 181 | P P Confrances Room -3 | Co2 Type | 2kg | 1 | 2021
217 | 169 |  | Co2 Type | 2kg | 1 | 2021
218 | 174 |  | Co2 Type | 2kg | 1 | 2021
219 | 171 |  | ABC Type | 9kg | 1 | 2021
220 | 168 |  | ABC Type | 6kg | 1 | 2017
221 | 170 |  | ABC Type | 6kg | 1 | 2017
222 | 179 | Meeting Room 1 | ABC Type | 4kg | 1 | 2012
223 | 177 | Meeting Room 2 | ABC Type | 4kg | 1 | 2012
224 | 172 | Confrence Room -1 | ABC Type | 4kg | 1 | 2012
225 | 62 | Pilar No- A-8 | ABC Type | 6kg | 1 | 2021
226 | 63 | Pilar No- A-9 | Co2 Type | 4.5kg | 1 | 2017
227 | 64 | Pilar No- A-10 | ABC Type | 6kg | 1 | 2021
228 | 65 | Pilar No- A-11 | ABC Type | 6kg | 1 | 2017
229 | 66 | Pilar No- A-11-B | Co2 Type | 4.5kg | 1 | 2021
230 | 67 | Pilar No- A-11-B | Co2 Type | 4.5kg | 1 | 2021
231 |  | Meeting Room | Co2 Type | 2kg | 1 | 2021
232 |  | Reception | Co2 Type | 2kg | 1 | 2021
233 | 166 | Near Exit Door | Co2 Type | 2kg | 1 | 2021
234 | 167 | office | ABC Type | 5kg | 1 | 2017
235 | 165 | Pantry | Co2 Type | 2kg | 1 | 2021
236 | 166 | P D Confrance | ABC Type | 9kg | 1 | 2017
237 | 169 | office | Co2 Type | 2kg | 1 | 2021
238 | 172 | office | ABC Type | 6kg | 1 | 2017
239 | 171 | office | Co2 Type | 2kg | 1 | 2021
240 | 179 | P D Confrance | ABC Type | 9kg | 1 | 2017
241 | 178 | P D Office | Co2 Type | 2kg | 1 | 2021
242 | 173 | P D Confrance | Co2 Type | 2kg | 1 | 2021
243 | 177 | P D Confrance | ABC Type | 4kg | 1 | 2017
244 | 174 | P D Confrance | Co2 Type | 2kg | 1 | 2021
245 | 175 | P D Confrance | Co2 Type | 2kg | 1 | 2021
246 | 175 | P D Confrance | Co2 Type | 2kg | 1 | 2021
247 | 168 | P D Confrance-2 | Co2 Type | 9kg | 1 | 2021
248 | 170 | P D Meeting -02 | ABC Type | 6kg | 1 | 2017
249 | 71 | Pilar No- C-8 | Co2 Type | 4.5kg | 1 | 2021
250 | 70 | Pilar No- C-9 | M Foam Type | 9ltr | 1 | 2016
251 | 69 | Pilar No- C-10 | Co2 Type | 4.5kg | 1 | 2021
252 | 68 | Pilar No- C-11 | ABC Type | 6kg | 1 | 2015
253 |  | Pilar No- C-11-B
254 | 72 | Pilar No- D-8 | ABC Type | 6kg | 1 | 2021
255 | 73 | Pilar No- D-9 | M Foam Type | 9ltr | 1 | 2021
256 | 74 | Pilar No- D-10 | Co2 Type | 4.5kg | 1 | 2021
257 | 75 | Pilar No- D-11 | Co2 Type | 4.5kg | 1 | 2021
258 | 76 | Pilar No- D-11-B | ABC Type | 6kg | 1 | 2017
259 | 74 | Controll Panel | Co2 Type | 4.5kg | 1 | 2021
260 |  | Pilar No- E-8
261 | 95 | Pilar No- E-9 | ABC Type | 6kg | 1 | 2015
262 | 97 | Pilar No- E-10 | Co2 Type | 4.5kg | 1
263 | 85 | Pilar No- E-11 | M Foam Type | 9ltr | 1 | 2021
264 | 77 | Pilar No- E-11-B | M Foam Type | 9ltr | 1 | 2021
265 | 78 | Pilar No- E-17 | ABC Type | 6kg | 1 | 2015
266 | 94 | Pilar No- F-8 | Co2 Type | 4.5kg | 1 | 2021
267 |  | Pilar No- F-9 | Co2 Type | 4.5kg | 1 | 2021
268 |  | Pilar No- F-10 | M Foam Type | 50 ltr | 1 | 2021
269 | 84 | Pilar No- F-11 | M Foam Type | 9ltr | 1 | 2021
270 | 93 | Pilar No- G-8 | ABC Type | 6kg | 1 | 2021
271 | 92 | Pilar No- G-9 | ABC Type | 6kg | 1 | 2015
272 | 91 | Pilar No- G-10 | ABC Type | 4kg | 1 | 2017
273 | 83 | Pilar No- G-11 | M Foam Type | 9ltr | 1 | 2017
274 | 89 | Pilar No- H-8 | ABC Type | 6kg | 1 | 2021
275 | 90 | Pilar No- H-9 | Co2 Type | 4.5kg | 1 | 2021
276 | 82 | Pilar No- H-10 | M Foam Type | 9ltr | 1
277 | 79 | Pilar No- H-11-B | M Foam Type | 9ltr | 1 | 2021
278 | 96 | Clean Room | M Foam Type | 45 Ltr | 1 | 2021
279 | 101 | ASU-1-First Floor | Co2 Type | 4.5kg | 1 | 2021
280 | 102 | ASU-2-First Floor | Co2 Type | 4.5kg | 1 | 2021
281 | 103 | ASU-2-First Floor | Co2 Type | 4.5kg | 1 | 2021
282 | 104 | ASU-2-First Floor | Co2 Type | 4.5kg | 1 | 2021
283 | 82 | H-11 | M Foam Type | 9ltr | 1 | 2021
284 | 80 | K-11 B | ABC Type | 4kg | 1 | 2017
285 | 88 | Pilar No- K-8 | Co2 Type | 4.5kg | 1 | 2021
286 | 87 | Pilar No- K-9 | ABC Type | 6kg | 1 | 2017
287 | 86 | Pilar No- K-10 | Co2 Type | 4.5kg | 1 | 2021
288 | 81 | Pilar No- H-11-B | Co2 Type | 4.5kg | 1 | 2021
289 |  | Clean Room | ABC Type | 4kg | 1 | 2021
290 |  | DM Plant | Co2 Type | 4.5kg | 1 | 2021
291 | 106 | D. M PLANT | Water Type | 9ltr | 1 | 2017
292 | 107 | Paint Shop | Co2 Type | 4.5kg | 1 | 2021
293 | 105 | Eletrical Room | ABC Type | 4kg | 1 | 2017
294 | 114 |  | ABC Type | 6kg | 1 | 2017
295 | 117 |  | Co2 Type | 4.5kg | 1 | 2021
296 | 112 |  | Co2 Type | 6.5kg | 1 | 2021
297 | 111 |  | Co2 Type | 6.5kg | 1 | 2021
298 | 113 |  | Co2 Type | 6.5kg | 1 | 2021
299 | 118 | Main Panel Room | Co2 Type | 6.5kg | 1 | 2021
300 |  |  | Co2 Type | 6.5kg | 1 | 2021
301 |  | Store Room | Water Type | 9ltr | 1 | 2017
302 |  |  | Water Type | 9ltr | 1 | 2017
303 |  | DG Room | Co2 Type | 6.5kg | 1 | 2017
304 |  |  | Co2 Type | 6.5kg | 1 | 2017
305 |  |  | Co2 Type | 4.5kg | 1 | 2017
306 |  | Compressor Room | Co2 Type | 6.5kg | 1 | 2017
307 |  |  | Co2 Type | 6.5kg | 1 | 2017
308 | 115 | MTS Room | Water Type | 9ltr | 1 | 2017
309 | 116 | MTS Room | ABC Type | 6kg | 1 | 2021
310 | 97 | Clean Room-Panel | Co2 Type | 4.5kg | 1 | 2021
311 | 98 | Paint Back -Over Maintance Door | Co2 Type | 4.5kg | 1 | 2021
312 | 99 | Coagulatopm Pit | ABC Type | 6kg | 1 | 2021
313 | 100 | Coagulatopm Pit | Co2 Type | 4.5kg | 1 | 2021
314 |  |  | ABC Type | 6kg | 1 | 2021
315 |  |  | ABC Type | 4kg | 1 | 2017
316 |  | Main Panel Room | ABC Type | 6kg | 1 | 2017
317 |  |  | Co2 Type | 4.5kg | 1 | 2017
318 | 215 | Hazaedous Westage Storage | M Foam Type | 45ltr | 1 | 2019
319 | 217 | ETP | Co2 Type | 6.5kg | 1 | 2021
320 | 218 | ETP -STP | Co2 Type | 6.5kg | 1 | 2021
321 | 220 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
322 | 221 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
323 | 223 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
324 | 224 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
325 | 222 | Eletrical Panel | Co2 Type | 9kg | 1 | 2017
326 | 219 | Eletrical Panel | ABC Type | 6kg | 1 | 2017
327 | 225 | LAB | ABC Type | 4kg | 1 | 2017
328 | 226 | Chmical Storage | ABC Type | 4kg | 1 | 2017
329 | 227 | Gate No-4 | ABC Type | 4kg | 1 | 2017
330 | 228 | Gate No-4 | ABC Type | 4kg | 1 | 2017
331 | 216 | Hazaedous Westage Storage | M Foam Type | 45Ltr | 1 | 2019
332 | 203 | Utility Room | WCo2 | 9 Ltr
333 | 205 | Utility Room | CO2 | 6.5 Kg
334 | 206 | Utility Room | WCo2 | 9 Ltr
335 | 208 | Utility Room | CO2 | 6.5 Kg
336 | 209 | Utility Room | CO2 | 6.5 Kg
337 | 211 | Utility Room | CO2 | 6.5 Kg
338 | 212 | Utility Room | CO2 | 4.5 Kg
339 | 213 | Conpreser Room | CO2 | 6.5 Kg
340 | 214 | Conpreser Room | WCo2 | 9 Ltr
341 | 202 | Conpreser Room | CO2 | 6.5 Kg
342 | 201 | Store Room | WCo2 | 9 Ltr
343 | 190 | Store Room | WCo2 | 9 Ltr
344 | 190 | Utility Room | CO2 | 4.5kg
345 | 191 | Panel Room | CO2 | 6.5 Kg
346 | 192 | Panel Room | CO2 | 4.5kg
347 | 193 | Electrical Panel | CO2 | 4.5kg
348 | 194 | Electrical Panel | CO2 | 4.5kg
349 | 195 | Electrical Panel | CO2 | 6.5kg
350 | 199 | H T Roon | CO2 | 6.5kg
351 | 200 | H T Roon | CO2 | 6.5kg
352 | 196 | Electrical Panel | CO2 | 6.5kg
353 | 198 | Electrical Panel | CO2 | 6.5kg
354 | 197 | Electrical Panel | CO2 | 4.5kg
355 |  | spair stock | M form type | 50 ltr
356 |  | spair stock | M form type | 50ltr
357 |  | spair stock | CO2 type | s
358 |  | spair stock | CO2 type | 4.5 kg
359 |  | spair stock | CO2 type | 4.5 kg
360 |  | spair stock | CO2 type | 4.5 kg
361 |  | spair stock | CO2 type | 4.5 kg
362 |  | spair stock | CO2 type | 4.5 kg
363 |  | spair stock | CO2 type | 4.5 kg
364 |  | spair stock | CO2 type | 4.5 kg
365 |  | spair stock | CO2 type | 4.5 kg
366 |  | spair stock | Water type | 9 ltr
367 |  | spair stock | Water type | 9 ltr
368 |  | spair stock | Water type | 9 ltr
369 |  | spair stock | Water type | 9 ltr
370 |  | spair stock | Water type | 9 ltr
371 |  | spair stock | Water type | 9 ltr
372 |  | spair stock | Water type | 9 ltr
373 |  | spair stock | Water type | 9 ltr
374 |  | spair stock | Water type | 9 ltr
375 |  | spair stock | Water type | 9 ltr
376 |  | spair stock | Water type | 9 ltr
377 |  | spair stock | Water type | 9 ltr
378 |  | spair stock | Water type | 9 ltr
379 |  | spair stock | Water type | 9 ltr
380 |  | spair stock | Water type | 9 ltr
381 |  | spair stock | Water type | 9 ltr
382 |  | spair stock | Water type | 9 ltr
383 |  | spair stock | Water type | 9 ltr
384 |  | spair stock | DCP Type | 4 Kg
385 |  | spair stock | DCP Type | 4 Kg
386 |  | spair stock | DCP Type | 4 Kg
387 |  | spair stock | DCP Type | 4 Kg
388 |  | spair stock | DCP Type | 4 Kg
389 |  | spair stock | DCP Type | 4 Kg
390 |  | spair stock | DCP Type | 4 Kg
391 |  | spair stock | DCP Type | 4 Kg
392 |  | spair stock | DCP Type | 4 Kg
393 |  | spair stock | DCP Type | 4 Kg
394 |  | spair stock | DCP Type | 4 Kg
395 |  | spair stock | DCP Type | 4 Kg
396 |  | spair stock | DCP Type | 4 Kg
397 |  | spair stock | DCP Type | 4 Kg
398 |  | spair stock | DCP Type | 4 Kg
399 |  | spair stock | DCP Type | 4 Kg
400 |  | spair stock | DCP Type | 4 Kg
401 |  | spair stock | DCP Type | 4 Kg
402 |  | spair stock | DCP Type | 4 Kg
403 |  | spair stock | DCP Type | 4 Kg
404 |  | spair stock | DCP Type | 4 Kg
405 |  | spair stock | DCP Type | 4 Kg
406 |  | spair stock | DCP Type | 4 Kg
407 |  | spair stock | DCP Type | 4 Kg
408 |  | spair stock | DCP Type | 4 Kg

## Sheet1
S .NO | F E No | Location | Available FE | Capacity | Qty | Mfg Year | QR Code
1 | 234 | Fire Pump Room | ABC Type | 6kg | 1 | 2021
2 | 231 | Fire Pump Room | ABC Type | 10kg | 1 | 2090
3 | 232 | Fire Pump Room | Co2 Type | 4.5kg | 1 | 2021
4 | 233 | Fire Pump Room | Co2 Type | 4.5kg | 1 | 2021
5 | 228 | Scrap Yard | Foam Type | 45 ltr | 1 | 2021
6 | 229 | Scrap Yard | Foam Type | 45 ltr | 1 | 2021
7 | 230 | Scrap Yard | Foam Type | 45 ltr | 1 | 2021
8 | 236 | Touch Up Booth | ABC Type | 9kg | 1 | 2021
9 | 235 | Touch Up Booth | Co2 Type | 4.5kg | 1 | 2021
10 | 239 | Propane Tank | Foam Type | 45 ltr | 1 | 2021
11 | 242 | Propane Tank | Foam Type | 45 ltr | 1 | 2021
12 | 243 | Propane Tank | DCP Type | 50 KG | 1 | 2016
13 | 245 | Propane Tank | DCP Type | 50 KG | 1 | 2016
14 | 240 | Propane Tank | DCP Type | 9kg | 1 | 2016
15 | 241 | Propane Tank | DCP Type | 9kg | 1 | 2016
16 | 244 | Propane Tank | DCP Type | 9kg | 1 | 2016
17 | 246 | Propane Tank | DCP Type | 9kg | 1 | 2016
18 | 237 | Tank Control Room | Co2 Type | 6.5kg | 1 | 2021
19 | 238 | Tank Control Room | Co2 Type | 6.5kg | 1 | 2021
20 | 256 | Disel Storage Tard | Foam Type | 50 ltr | 1 | 2021
21 | 257 | Disel Storage Tard | Co2 Type | 6.5kg | 1 | 2017
22 | 259 | Disel Storage Tard | Co2 Type | 6.5kg | 1 | 2017
23 | 258 | Disel Storage Tard | ABC Type | 25kg | 1 | 2015
24 | 247 | Oil Yard | Foam Type | 45 ltr | 1 | 2021
25 | 252 | Oil Yard | Foam Type | 45 ltr | 1 | 2015
26 | 251 | Oil Yard | ABC Type | 25kg | 1 | 2015
27 | 250 | Oil Yard | ABC Type | 25kg | 1 | 2015
28 | 248 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
29 | 249 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
30 | 253 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
31 | 254 | Oil Yard | Co2 Type | 4.5kg | 1 | 2015
32 | 255 | Oil Yard | Co2 Type | 4.5kg | 1 | 2021
33 |  | Oil Yard | Foam Type | 50 ltr | 1 | 2021
34 |  | Oil Yard | Foam Type | 50 ltr | 1 | 2021
35 | 260 | Gate No-01 | ABC Type | 4kg | 1 | 2016
36 | 261 | Gate No-01 | ABC Type | 5kg | 1 | 2017
37 | 264 | Gate No-01 | ABC Type | 4kg | 1 | 2017
38 |  | H T Yard | Co2 Type | 4.5kg | 1 | 2021
39 |  | H T Yard | ABC Type | 6kg | 1 | 2021
40 | 262 | Gate No-2 | ABC Type | 4kg | 1 | 2017
41 | 263 | Gate No-2 | Water Co2 Type | 9ltr | 1 | 2016
42 | 182 | Medical Room | ABC Type | 2kg | 1 | 2021
43 | 183 | Canteen | ABC Type | 2kg | 1 | 2021
44 | 185 | Gate No-03 | ABC Type | 4kg | 1 | 2017
45 | 186 | Gate No-03 | Water Co2 Type | 9ltr | 1 | 2017
46 | 184 | Canteen ( Kitchen) | Co2 Type | 2 kg | 1 | 2021
47 | 187 | Meter Area | Co2 Type | 4.5kg | 1 | 2017
48 | 188 | Meter Area | ABC Type | 5kg | 1
Utility Area
49 |  | H T Room | Co2 Type | 6.5kg | 1 | 2021
50 |  | H T Room | Co2 Type | 6.5kg | 1 | 2021
51 |  | Meter Room | Co2 Type | 4.5kg | 1 | 2021
52 | 189 | Transformer -01 | Co2 Type | 4.5kg | 1 | 2021
53 | 2017 | Transformer -02 | Co2 Type | 4.5kg | 1 | 2021
54 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
55 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
56 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
57 |  | UPS Room | Co2 Type | 6.5kg | 1 | 2021
Assembly Shop
58 | 1 | Pilar No- B-3 | Water Co2 Type | 9ltr | 1 | 2012
59 |  | Pilar No- B-5 | Foam - Type | 9ltr | 1 | 2021
60 | 3 | Pilar No- A-5 | Co2 Type | 4.5kg | 1 | 2021
61 | 4 | Pilar No- B-7 | Foam - Type | 9ltr | 1 | 2021
62 | 2 | Pilar No- B-3-Back Side | Foam - Type | 9ltr | 1 | 2021
63 | 5 | Pilar No- A-7 | ABC Type | 6kg | 1 | 2017
PILLAR NO-C= 1 To 8
64 |  | Pilar No- C-1
65 | 12 | Pilar No- C-2 | Co2 Type | 4.5kg | 1 | 2021
66 | 11 | Pilar No- C-3 | ABC Type | 9kg | 1 | 2021
67 | 10 | Pilar No- C-4 | ABC Type | 6kg | 1 | 2021
68 | 9 | Pilar No- C-5 | Co2 Type | 4.5kg | 1 | 2021
69 | 8 | Pilar No- C-6 | Co2 Type | 4.5kg | 1 | 2021
70 | 7 | Pilar No- C-7 | ABC Type | 4kg | 1 | 2017
71 | 6 | Pilar No- C-7B | ABC Type | 6kg | 1 | 2021
PILLAR NO-D= 2 To 8
71 |  | Pilar No- D-2 | Co2 Type | 4.5kg | 1 | 2017
72 | 14 | Pilar No- D-3 | ABC Type | 6kg | 1 | 2021
73 | 15 | Pilar No- D-4 | ABC Type | 6kg | 1 | 2021
74 | 16 | Pilar No- D-5 | ABC Type | 6kg | 1 | 2021
75 | 17 | Pilar No- D-6 | ABC Type | 6kg | 1 | 2021
76 |  | Pilar No- D-7
77 |  | Pilar No- D-8
PILLAR NO-E= 1 To 8
78 | 23 | Pilar No- E-1 | ABC Type | 6kg | 1 | 2021
79 | 22 | Pilar No- E-2 | ABC Type | 6 kg | 1 | 2021
80 | 21 | Pilar No- E-3 | Co2 Type | 4.5kg | 1 | 2021
81 |  | Pilar No- E-4
82 | 20 | Pilar No- E-5 | Co2 Type | 4.5kg | 1 | 2021
83 | 19 | Pilar No- E-6 | ABC Type | 6kg | 1 | 2021
84 | 18 | Pilar No- E-7 | ABC Type | 6kg | 1 | 2021
85 |  | Pilar No- E-8 | Co2 Type | 4.5kg | 1 | 2021
S .NO | F E No | Location | Available FE | Capacity | Qty | Mfg Year | Available
PILLAR NO-F= 1 To 8
86 | 24 | Pilar No- F-1 | ABC Type | 6kg | 1 | 2021
87 |  | Pilar No- F-2
88 | 25 | Pilar No- F-3 | ABC Type | 6kg | 1 | 2021
89 | 26 | Pilar No- F-4 | ABC Type | 6kg | 1 | 2021
90 | 27 | Pilar No- F-5 | ABC Type | 6kg | 1 | 2021
91 |  | Pilar No- F-6 | ABC Type | 6kg | 1 | 2021
92 | 28 | Pilar No- F-7 | ABC Type | 6kg | 1 | 2021
93 |  | Pilar No- F-8 | ABC Type | 6kg | 1 | 2021
PILLAR NO-G= 1 To 7
94 | 36 | Pilar No- G-1 | Co2 Type | 4.5kg | 1 | 2021
95 | 35 | Pilar No- G-2 | Co2 Type | 4.5kg | 1 | 2021
96 | 34 | Pilar No- G-3 | ABC Type | 6kg | 1 | 2021
97 | 33 | Pilar No- G-4 | ABC Type | 6kg | 1 | 2021
98 | 32 | Pilar No- G-5 | Co2 Type | 4.5kg | 1 | 2021
99 | 31 | Pilar No- G-6 | Co2 Type | 4.5kg | 1 | 2021
100 | 30 | Pilar No- G-7 | ABC Type | 6kg | 1 | 2021
101 | 29 | Pilar No- G-7B | CO2 WATER | 9 LTR | 1 | 2017
PILLAR NO-H= 1 To 7
102 |  | Pilar No- H-1
103 |  | Pilar No- H-2 | ABC Type | 6 Kg | 1 | 2021
104 | 37 | Pilar No- H-3 | ABC Type | 6kg | 1 | 2021
105 | 38 | Pilar No- H-4
106 |  | Pilar No- H-5
107 |  | Pilar No- H-6
108 | 39 | Pilar No- H-7 | ABC Type | 6kg | 1 | 2021
109 | 40 | Pilar No- H-7B | Co2 Type | 4.5kg | 1 | 2021
PILLAR NO-J= 1 To 7
110 |  | Pilar No- J-1 | ABC Type | 6kg | 1 | 2021
111 |  | Pilar No- J-2
112 | 45 | Pilar No- J-3 | ABC Type | 6kg | 1 | 2021
113 | 44 | Pilar No- J-4 | Co2 Type | 4.5kg | 1 | 2021
114 | 43 | Pilar No- J-5 | ABC Type | 6kg | 1 | 2021
115 |  | Pilar No- J-6
116 | 42 | Pilar No- J-7 | Water Co2 | 9ltr | 1 | 2016
117 | 41 | Pilar No- J-7-B | Co2 Type | 4.5kg | 1 | 2017
118 |  | UPS ROOM | Co2 Type | 4.5kg | 1 | 2021
PILLAR NO-K= 2 To 7
119 |  | Pilar No- K-2
120 | 47 | Pilar No- K-3 | ABC Type | 6kg | 1 | 2017
121 | 46 | Pilar No- K-4 | ABC Type | 6 Kg |  | 2021
122 | 48 | Pilar No- K-5 | ABC Type | 6kg | 1 | 2021
123 | 49 | Pilar No- K-6 | Co2 Type | 4.5kg | 1 | 2021
124 | 50 | Pilar No- K-7 | Co2 Type | 4.5kg | 1 | 2017
Asseambly Shop Office
125 | 52 | Ground Floor Meeting | ABC Type | 4kg | 1 | 2021
126 |  | Workstation | ABC Type | 6kg | 1 | 2021
127 | 51 | Staandrd M Lab | ABC Type | 4kg | 1 | 2021
128 | 54 | Electrical Panel Room | Co2 Type | 4.5kg | 1 | 2021
129 | 58 | First floor | ABC Type | 4kg | 1 | 2021
130 | 60 | First floor | ABC Type | 4kg | 1 | 2021
131 | 59 | First floor | ABC Type | 5kg | 1 | 2016
132 | 53 | Ground Floor Offices | ABC Type | 4kg | 1 | 2016
133 | 55 | Ground Floor Offices | Co2 Type | 4.5kg | 1 | 2021
134 |  | Ground Floor Offices | Co2 Type | 4.5kg | 1 | 2021
135 | 56 | Ground Floor Offices | DCP Type | 5kg | 1 | 2016
136 | 57 | Ground Floor Offices | DCP Type | 5kg | 1 | 2016
137 | 61 | ICT Room | Co2 Type | 4.5kg | 1 | 2021
Fabrication Shop- PILLAR NO-K= 15 To 20
138 | 119 | Pilar No- K-15 | Co2 Type | 4.5kg | 1 | 2021
139 | 124 | Pilar No- K-16 | Co2 Type | 4.5 kg | 1 | 2021
140 |  | Pilar No- K-17
141 |  | Pilar No- K-18
142 |  | Pilar No- K-19
143 | 163 | Pilar No- K--20 | Water Co2 | 9Ltr | 1 | 2017
144 | 164 | Fabrication Uitility | Co2 Type | 4.5kg | 1 | 2021
Fabrication Shop- PILLAR NO-J= 14 To 21
145 |  | Pilar No- J-14 | Co2 Type | 4.5kg
146 | 120 | Pilar No- J-15 | ABC Type | 6kg | 1 | 2021
147 | 143 | Pilar No- J-16 | ABC Type | 5kg | 1 | 2017
148 |  | Pilar No- J-17 | ABC Type | 6kg | 1 | 2021
149 | 144 | Pilar No- J-18 | ABC Type | 6kg | 1 | 2014
150 | 162 | Pilar No- J-19 | ABC TYYE | 6 KG | 1 | 2021
151 |  | Pilar No- J--20 | ABC Type | 6kg | 1 | 2021
152 |  | Pilar No- J--21
PILLAR NO-H= 14 To 19
103 |  | Pilar No- H--14 | Co2 Type | 4.5kg | 1 | 2021
104 | 121 | Pilar No- H--15 | Co2 Type | 4.5kg | 1 | 2021
105 | 141 | Pilar No- H--16 | ABC Type | 6kg | 1 | 2017
106 | 142 | Pilar No- H--17 | ABC Type | 6kg | 1 | 2021
107 | 145 | Pilar No- H--18 | ABC Type | 6kg | 1 | 2021
PILLAR NO-G= 14 To 19( Fabrication Shop )
153 | 123 | Pilar No- G--14 | Water Co2 | 9Ltr | 1 | 2017
154 | 122 | Pilar No- G--15 | Co2 Type | 4.5kg | 1 | 2021
155 | 140 | Pilar No- G--16 | ABC Type | 6kg | 1 | 2021
156 |  | Pilar No- G--17 | Water Co2 | 9Ltr | 1 | 2017
157 | 146 | Pilar No- G--18 | ABC Type | 6kg | 1 | 2014
158 | 147 | Pilar No- G--19 | ABC Type | 6kg | 1 | 2021
PILLAR NO-F= 14 To 20
159 | 124 | Pilar No- F--14 | Co2 Type | 4.5kg | 1 | 2021
160 | 125 | Pilar No- F--15 | Water Co2 | 9Ltr | 1 | 2017
161 |  | Pilar No- F--16 | Water Co2 | 9Ltr | 1 | 2017
162 | 139 | Pilar No- F--17 | ABC Type | 6kg | 1 | 2021
163 |  | Pilar No- F--18
164 | 148 | Pilar No- F--19 | ABC Type | 6kg | 1 | 2021
165 |  | Pilar No- F--20
166 | 126 | Pilar No- E--14 | ABC Type | 6kg | 1 | 2021
167 |  | Pilar No- E--15
168 | 136 | Pilar No- E--16 | ABC Type | 6kg | 1 | 2017
169 | 138 | Pilar No- E--17 | ABC Type | 6kg | 1 | 2017
170 | 150 | Pilar No- E--18 | ABC Type | 9kg | 1 | 2017
171 | 149 | Pilar No- E--19 | ABC Type | 6kg | 1 | 2021
172 | 161 | Pilar No- E--20 | ABC Type | 4kg | 1 | 2021
PILLAR NO-D= 14 To 20
173 | 1278 | Pilar No- D--14 | ABC Type | 6kg | 1 | 2021
174 | 128 | Pilar No- D--15 | Co2 Type | 4.5kg | 1 | 2021
175 |  | Pilar No- D--16
176 | 137 | Pilar No- D--17 | Water Co2 | 9Ltr | 1 | 2017
177 |  | Pilar No- D--18 | ABC Type | 4kg | 1 | 2017
178 | 151 | Pilar No- D--19 | ABC Type | 6kg | 1 | 2021
179 | 160 | Pilar No- D--20 | ABC Type | 6kg | 1 | 2017
180 |  | Pilar No- D--21 | ABC Type | 6kg | 1 | 2017
PILLAR NO-C= 14 To 20
181 | 130 | Pilar No- C--14 | Co2 Type | 4.5kg | 1 | 2021
183 | 129 | Pilar No- C--15 | ABC Type | 6kg | 1 | 2021
185 | 136 | Pilar No- C--16 | ABC Type | 6kg | 1 | 2017
187 |  | Pilar No- C--17 | ABC Type | 6kg | 1 | 2021
189 | 152 | Pilar No- C--18 | ABC Type | 6kg | 1 | 2017
191 |  | Pilar No- C--19
193 | 158 | Pilar No- C--20 | ABC Type | 4kg | 1 | 2017
195 | 159 | Pilar No- C--21 | ABC Type | 6kg | 1 | 2021
PILLAR NO-B= 14 To 20
196 |  | Pilar No- B--14
197 | 131 | Pilar No- B--15 | ABC Type | 4kg | 1 | 2017
198 |  | Pilar No- B--16 | ABC Type | 4kg | 1
199 | 135 | Pilar No- B--17 | ABC Type | 6kg | 1 | 2021
200 | 153 | Pilar No- B-18 | DCP Type | 4kg | 1 | 2012
201 |  | Pilar No- B--19
202 | 156 | Pilar No- B--20 | ABC Type | 6kg | 1 | 2017
203 | 155 | Pilar No- B--21 | ABC Type | 6kg | 1 | 2021
PILLAR NO-A= 14 To 20
204 | 132 | Pilar No- A--14 | ABC Type | 6kg | 1 | 2017
205 | 157 | Pilar No- B--21 | M Foam | 9ltr | 1 | 2021
206 |  | Pilar No- C--21 | ABC Type | 6kg | 1 | 2021
207 | 133 | Pilar No- A--15 | ABC Type | 6kg | 1 | 2021
208 | 134 | Pilar No- A--16 | ABC Type | 6kg | 1 | 2012
209 |  | Pilar No- A--17 | Co2 Type | 4.5kg | 1 | 2021
210 |  | Pilar No- A-18
211 | 154 | Pilar No- A--19 | M Foam TYPE | 9 LTR | 1 | 2017
212 |  | Pilar No- A-20 | ABC Type | 6kg | 1 | 2021
Fabrication Shop Office
213 | 176 | Marketing Office | Co2 Type | 2kg | 1 | 2021
214 | 173 | Design Office | Co2 Type | 2kg | 1 | 2021
215 | 178 | P P Confrances Room -1 | Co2 Type | 2kg | 1 | 2021
216 | 180 | P P Confrances Room -2 | Co2 Type | 2kg | 1 | 2021
217 | 181 | P P Confrances Room -3 | Co2 Type | 2kg | 1 | 2021
218 | 169 |  | Co2 Type | 2kg | 1 | 2021
219 | 174 |  | Co2 Type | 2kg | 1 | 2021
220 | 171 |  | ABC Type | 9kg | 1 | 2021
221 | 168 |  | ABC Type | 6kg | 1 | 2017
222 | 170 |  | ABC Type | 6kg | 1 | 2017
223 | 179 | Meeting Room 1 | ABC Type | 4kg | 1 | 2012
224 | 177 | Meeting Room 2 | ABC Type | 4kg | 1 | 2012
225 | 172 | Confrence Room -1 | ABC Type | 4kg | 1 | 2012
Paint Shop Pilar No-A=8 To 11B
226 | 62 | Pilar No- A-8 | ABC Type | 6kg | 1 | 2021
227 | 63 | Pilar No- A-9 | Co2 Type | 4.5kg | 1 | 2017
228 | 64 | Pilar No- A-10 | ABC Type | 6kg | 1 | 2021
229 | 65 | Pilar No- A-11 | ABC Type | 6kg | 1 | 2017
230 | 66 | Pilar No- A-11-B | Co2 Type | 4.5kg | 1 | 2021
231 | 67 | Pilar No- A-11-B | Co2 Type | 4.5kg | 1 | 2021
232 |  | Meeting Room | Co2 Type | 2kg | 1 | 2021
233 |  | Reception | Co2 Type | 2kg | 1 | 2021
Fabrication Office
234 | 166 | Near Exit Door | Co2 Type | 2kg | 1 | 2021
235 | 167 | office | ABC Type | 5kg | 1 | 2017
236 | 165 | Pantry | Co2 Type | 2kg | 1 | 2021
237 | 166 | P D Confrance | ABC Type | 9kg | 1 | 2017
238 | 169 | office | Co2 Type | 2kg | 1 | 2021
239 | 172 | office | ABC Type | 6kg | 1 | 2017
240 | 171 | office | Co2 Type | 2kg | 1 | 2021
241 | 179 | P D Confrance | ABC Type | 9kg | 1 | 2017
| 178 | P D Office | Co2 Type | 2kg | 1 | 2021
242 | 173 | P D Confrance | Co2 Type | 2kg | 1 | 2021
243 | 177 | P D Confrance | ABC Type | 4kg | 1 | 2017
244 | 174 | P D Confrance | Co2 Type | 2kg | 1 | 2021
245 | 175 | P D Confrance | Co2 Type | 2kg | 1 | 2021
246 | 175 | P D Confrance | Co2 Type | 2kg | 1 | 2021
247 | 168 | P D Confrance-2 | Co2 Type | 9kg | 1 | 2021
248 | 170 | P D Meeting -02 | ABC Type | 6kg | 1 | 2017
Paint Shop -PILLAR NO-C= 14 To 11 B
249 | 71 | Pilar No- C-8 | Co2 Type | 4.5kg | 1 | 2021
250 | 70 | Pilar No- C-9 | M Foam Type | 9ltr | 1 | 2016
251 | 69 | Pilar No- C-10 | Co2 Type | 4.5kg | 1 | 2021
252 | 68 | Pilar No- C-11 | ABC Type | 6kg | 1 | 2015
253 |  | Pilar No- C-11-B
PILLAR NO-D= 8 To 11 B
254 | 72 | Pilar No- D-8 | ABC Type | 6kg | 1 | 2021
255 | 73 | Pilar No- D-9 | M Foam Type | 9ltr | 1 | 2021
256 | 74 | Pilar No- D-10 | Co2 Type | 4.5kg | 1 | 2021
257 | 75 | Pilar No- D-11 | Co2 Type | 4.5kg | 1 | 2021
258 | 76 | Pilar No- D-11-B | ABC Type | 6kg | 1 | 2017
259 | 74 | Controll Panel | Co2 Type | 4.5kg | 1 | 2021
PILLAR NO-E= 8 To 11 B
260 |  | Pilar No- E-8
261 | 95 | Pilar No- E-9 | ABC Type | 6kg | 1 | 2015
262 | 97 | Pilar No- E-10 | Co2 Type | 4.5kg | 1
263 | 85 | Pilar No- E-11 | M Foam Type | 9ltr | 1 | 2021
264 | 77 | Pilar No- E-11-B | M Foam Type | 9ltr | 1 | 2021
265 | 78 | Pilar No- E-17 | ABC Type | 6kg | 1 | 2015
PILLAR NO-F= 8 To 11 B
266 | 94 | Pilar No- F-8 | Co2 Type | 4.5kg | 1 | 2021
267 |  | Pilar No- F-9 | Co2 Type | 4.5kg | 1 | 2021
268 |  | Pilar No- F-10 | M Foam Type | 50 ltr | 1 | 2021
269 | 84 | Pilar No- F-11 | M Foam Type | 9ltr | 1 | 2021
PILLAR NO-G= 8 To 11 B
270 | 93 | Pilar No- G-8 | ABC Type | 6kg | 1 | 2021
271 | 92 | Pilar No- G-9 | ABC Type | 6kg | 1 | 2015
272 | 91 | Pilar No- G-10 | ABC Type | 4kg | 1 | 2017
273 | 83 | Pilar No- G-11 | M Foam Type | 9ltr | 1 | 2017
PILLAR NO-H= 8 To 11 B
274 | 89 | Pilar No- H-8 | ABC Type | 6kg | 1 | 2021
275 | 90 | Pilar No- H-9 | Co2 Type | 4.5kg | 1 | 2021
276 | 82 | Pilar No- H-10 | M Foam Type | 9ltr | 1
277 | 79 | Pilar No- H-11-B | M Foam Type | 9ltr | 1 | 2021
278 | 96 | Clean Room | M Foam Type | 45 Ltr | 1 | 2021
279 | 101 | ASU-1-First Floor | Co2 Type | 4.5kg | 1 | 2021
280 | 102 | ASU-2-First Floor | Co2 Type | 4.5kg | 1 | 2021
281 | 103 | ASU-2-First Floor | Co2 Type | 4.5kg | 1 | 2021
282 | 104 | ASU-2-First Floor | Co2 Type | 4.5kg | 1 | 2021
283 | 82 | H-11 | M Foam Type | 9ltr | 1 | 2021
284 | 80 | K-11 B | ABC Type | 4kg | 1 | 2017
PILLAR NO-K= 8 To 11 B
285 | 88 | Pilar No- K-8 | Co2 Type | 4.5kg | 1 | 2021
286 | 87 | Pilar No- K-9 | ABC Type | 6kg | 1 | 2017
287 | 86 | Pilar No- K-10 | Co2 Type | 4.5kg | 1 | 2021
288 | 81 | Pilar No- H-11-B | Co2 Type | 4.5kg | 1 | 2021
289 |  | Clean Room | ABC Type | 4kg | 1 | 2021
290 |  | DM Plant | Co2 Type | 4.5kg | 1 | 2021
291 | 106 | D. M PLANT | Water Type | 9ltr | 1 | 2017
292 | 107 | Paint Shop | Co2 Type | 4.5kg | 1 | 2021
293 | 105 | Eletrical Room | ABC Type | 4kg | 1 | 2017
294 | 114 |  | ABC Type | 6kg | 1 | 2017
295 | 117 |  | Co2 Type | 4.5kg | 1 | 2021
296 | 112 |  | Co2 Type | 6.5kg | 1 | 2021
297 | 111 |  | Co2 Type | 6.5kg | 1 | 2021
298 | 113 |  | Co2 Type | 6.5kg | 1 | 2021
299 | 118 | Main Panel Room | Co2 Type | 6.5kg | 1 | 2021
300 |  |  | Co2 Type | 6.5kg | 1 | 2021
301 |  | Store Room | Water Type | 9ltr | 1 | 2017
302 |  |  | Water Type | 9ltr | 1 | 2017
303 |  | DG Room | Co2 Type | 6.5kg | 1 | 2017
304 |  |  | Co2 Type | 6.5kg | 1 | 2017
305 |  |  | Co2 Type | 4.5kg | 1 | 2017
306 |  | Compressor Room | Co2 Type | 6.5kg | 1 | 2017
307 |  |  | Co2 Type | 6.5kg | 1 | 2017
308 | 115 | MTS Room | Water Type | 9ltr | 1 | 2017
309 | 116 | MTS Room | ABC Type | 6kg | 1 | 2021
310 | 97 | Clean Room-Panel | Co2 Type | 4.5kg | 1 | 2021
311 | 98 | Paint Back -Over Maintance Door | Co2 Type | 4.5kg | 1 | 2021
312 | 99 | Coagulatopm Pit | ABC Type | 6kg | 1 | 2021
313 | 100 | Coagulatopm Pit | Co2 Type | 4.5kg | 1 | 2021
314 |  |  | ABC Type | 6kg | 1 | 2021
315 |  |  | ABC Type | 4kg | 1 | 2017
316 |  | Main Panel Room | ABC Type | 6kg | 1 | 2017
317 |  |  | Co2 Type | 4.5kg | 1 | 2017
318 | 215 | Hazaedous Westage Storage | M Foam Type | 45ltr | 1 | 2019
319 | 217 | ETP | Co2 Type | 6.5kg | 1 | 2021
320 | 218 | ETP -STP | Co2 Type | 6.5kg | 1 | 2021
321 | 220 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
322 | 221 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
323 | 223 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
324 | 224 | Eletrical Panel | Co2 Type | 6.5kg | 1 | 2021
325 | 222 | Eletrical Panel | Co2 Type | 9kg | 1 | 2017
326 | 219 | Eletrical Panel | ABC Type | 6kg | 1 | 2017
327 | 225 | LAB | ABC Type | 4kg | 1 | 2017
328 | 226 | Chmical Storage | ABC Type | 4kg | 1 | 2017
329 | 227 | Gate No-4 | ABC Type | 4kg | 1 | 2017
330 | 228 | Gate No-4 | ABC Type | 4kg | 1 | 2017
331 | 216 | Hazaedous Westage Storage | M Foam Type | 45Ltr | 1 | 2019
332 | 203 | Utility Room | WCo2 | 9 Ltr
333 | 205 | Utility Room | CO2 | 6.5 Kg
334 | 206 | Utility Room | WCo2 | 9 Ltr
335 | 208 | Utility Room | CO2 | 6.5 Kg
336 | 209 | Utility Room | CO2 | 6.5 Kg
337 | 211 | Utility Room | CO2 | 6.5 Kg
338 | 212 | Utility Room | CO2 | 4.5 Kg
339 | 213 | Conpreser Room | CO2 | 6.5 Kg
340 | 214 | Conpreser Room | WCo2 | 9 Ltr
341 | 202 | Conpreser Room | CO2 | 6.5 Kg
342 | 201 | Store Room | WCo2 | 9 Ltr
343 | 190 | Store Room | WCo2 | 9 Ltr
344 | 190 | Utility Room | CO2 | 4.5kg
345 | 191 | Panel Room | CO2 | 6.5 Kg
346 | 192 | Panel Room | CO2 | 4.5kg
347 | 193 | Electrical Panel | CO2 | 4.5kg
348 | 194 | Electrical Panel | CO2 | 4.5kg
349 | 195 | Electrical Panel | CO2 | 6.5kg
350 | 199 | H T Roon | CO2 | 6.5kg
351 | 200 | H T Roon | CO2 | 6.5kg
352 | 196 | Electrical Panel | CO2 | 6.5kg
353 | 198 | Electrical Panel | CO2 | 6.5kg
354 | 197 | Electrical Panel | CO2 | 4.5kg
355 |  | spair stock | M form type | 50 ltr
356 |  | spair stock | M form type | 50ltr
357 |  | spair stock | CO2 type | s
358 |  | spair stock | CO2 type | 4.5 kg
359 |  | spair stock | CO2 type | 4.5 kg
360 |  | spair stock | CO2 type | 4.5 kg
361 |  | spair stock | CO2 type | 4.5 kg
362 |  | spair stock | CO2 type | 4.5 kg
363 |  | spair stock | CO2 type | 4.5 kg
364 |  | spair stock | CO2 type | 4.5 kg
365 |  | spair stock | CO2 type | 4.5 kg
366 |  | spair stock | Water type | 9 ltr
367 |  | spair stock | Water type | 9 ltr
368 |  | spair stock | Water type | 9 ltr
369 |  | spair stock | Water type | 9 ltr
370 |  | spair stock | Water type | 9 ltr
371 |  | spair stock | Water type | 9 ltr
372 |  | spair stock | Water type | 9 ltr
373 |  | spair stock | Water type | 9 ltr
374 |  | spair stock | Water type | 9 ltr
375 |  | spair stock | Water type | 9 ltr
376 |  | spair stock | Water type | 9 ltr
377 |  | spair stock | Water type | 9 ltr
378 |  | spair stock | Water type | 9 ltr
379 |  | spair stock | Water type | 9 ltr
380 |  | spair stock | Water type | 9 ltr
381 |  | spair stock | Water type | 9 ltr
382 |  | spair stock | Water type | 9 ltr
383 |  | spair stock | Water type | 9 ltr
384 |  | spair stock | DCP Type | 4 Kg
385 |  | spair stock | DCP Type | 4 Kg
386 |  | spair stock | DCP Type | 4 Kg
387 |  | spair stock | DCP Type | 4 Kg
388 |  | spair stock | DCP Type | 4 Kg
389 |  | spair stock | DCP Type | 4 Kg
390 |  | spair stock | DCP Type | 4 Kg
391 |  | spair stock | DCP Type | 4 Kg
392 |  | spair stock | DCP Type | 4 Kg
393 |  | spair stock | DCP Type | 4 Kg
394 |  | spair stock | DCP Type | 4 Kg
395 |  | spair stock | DCP Type | 4 Kg
396 |  | spair stock | DCP Type | 4 Kg
397 |  | spair stock | DCP Type | 4 Kg
398 |  | spair stock | DCP Type | 4 Kg
399 |  | spair stock | DCP Type | 4 Kg
400 |  | spair stock | DCP Type | 4 Kg
401 |  | spair stock | DCP Type | 4 Kg
402 |  | spair stock | DCP Type | 4 Kg
403 |  | spair stock | DCP Type | 4 Kg
404 |  | spair stock | DCP Type | 4 Kg
405 |  | spair stock | DCP Type | 4 Kg
406 |  | spair stock | DCP Type | 4 Kg
407 |  | spair stock | DCP Type | 4 Kg
408 |  | spair stock | DCP Type | 4 Kg

## Sheet2
utility area
utility area
utility area
utility area
utility area
utility area
utility area
utility area
utility area